# BIME 660: Introduction to Medical Imaging

## Graduate Project Assignment Handout

Instructor: Michael Richards

Semester: Fall 2025

Due Date: 12/8/2025 at 5 PM

## Overview

This project is designed for graduate students enrolled in the course. Students will work in pairs to simulate 3D image formation using two of the three modalities (i.e., Ultrasound, MRI, or X-ray CT) from a common STL file provided by the instructor. We can assume that this STL allows is the geometric representation of a fetus in utero. Thus, the application for all imaging modalities is fetal sizing estimations. The goal is to demonstrate a deep understanding of image formation physics, justify imaging parameters, and produce a 3D reconstructed image(s) using MATLAB-integrated simulation tools.

## Objectives

For all imaging modalities, students will be expected to:

Convert a 3D STL model into a representation suitable for imaging simulation.

Characterize the point spread function of your object at several location within the imaged field

Assign modality-specific physical properties (e.g., speed of sound, relaxation times, attenuation coefficients, etc.).

Perform forward simulation of image formation using MATLAB-compatible toolboxes.

Reconstruct and visualize a 3D image(s) from simulated data. (For paper submission image slices from multiple cross-sections)

Analyze and justify imaging parameter choices in the context of modality physics and fetal imaging.

Communicate findings effectively in a professional technical report and presentation.

## Group Assignments

Graduate students will form groups of two. Each group will choose two imaging modalities (Ultrasound, MRI, or X-ray CT) and one simulation software for each modality. The STL model will be provided by the instructor. All groups must use the same STL geometry to ensure comparability across modalities.

| Group | Assigned Modality |
| --- | --- |
| 1 | Ultrasound (k-Wave or Field II) |
| 2 | MRI (MRiLab) |
| 3 | X-ray CT (ASTRA, Xray Sim or TIGRE) |

## Deliverables

Each group must submit the following:

- MATLAB scripts and input files used for the simulation (with clear documentation).

A 3D reconstructed image volume(s) or rendering(s) (with appropriate visualization).

A written technical report (maximum 8 pages) including:

- For each Modality:

Description of STL-to-volume conversion and physical property mapping, using fetal imaging to guide the choices here.

Table of imaging parameters and justification of choices.

Summary of image formation and reconstruction process.

Discussion of noise, artifacts, and limitations of the chosen modality.

- A discussion comparing the two chosen modalities (2-3 paragraphs). This discussion should talk about the comparison generally (not for the simulation per se) for things like resolution, contrast, signal to noise ratio, costs, diagnostic ability, safety considerations etc. You should use the physical property maps chosen for each modality to guide the context of this discussion.

A 15-minute oral presentation, with time after for questions, summarizing methods, results, and key takeaways. Each group is expected to ask >2 questions from their peer groups during presentations.

## Evaluation Criteria

| Component | Description | Weight |
| --- | --- | --- |
| Simulation Setup | STL import, voxelization, and model definition | 25% |
| Image Formation | Implementation of modality physics and reconstruction | 30% |
| Physics Justification | Clarity and rationale behind chosen parameters | 25% |
| Presentation & Report | Organization, clarity, and technical accuracy (+Questions for peers) | 20% |

## Suggested MATLAB Toolboxes (If you choose one not on this list, please talk to me first)

- k-Wave (Ultrasound): http://www.k-wave.org

- Field II (Ultrasound): http://field-ii.dk

- MRiLab (MRI): https://github.com/leoliuf/MRiLab

- ASTRA Toolbox (CT): https://www.astra-toolbox.com

- TIGRE Toolbox (CT): https://github.com/CERN/TIGRE

- Xray Sim: https://github.com/MichaelBehr/Xray_Sim

Submission Guidelines

All project materials (MATLAB code, reconstructed images, and report) must be submitted electronically to myCourses by December 8th, 2025. Reports should follow IEEE or scientific journal formatting standards where possible. Presentations will be scheduled during the reserved final exam time of the semester, 12/10/2025, 10:45-1:15 PM in INS 1080.

## Additional Notes

Students are encouraged to collaborate within their assigned groups but must ensure equal contribution. External code or libraries may be used if properly cited. Plagiarism or uncredited use of existing simulation scripts is not permitted. Consult with the instructor early if you encounter computational challenges or need dataset assistance.